## INSTRUCTIONS
Instructions, tips, comments for the "Iasos I" wind turbine parameterization software.
(For your convenience, we suggest printing the following text). copyright Georgios Karytinos
From our website: "www.iasos.eu" get free the software for calculating the technical and economic parameters, concerning
the installation and operation of the "Iasos I" wind turbine.
With the help of this software, you can estimate all the parameters yourself.
All the technical parameters, concerning the wind turbine, are real sizes, which come from many years of meticulous
measurements.
The correctness and accuracy of the results, which arise after the calculations, depends on the correctness and accuracy
of the sizes, which you will type.
Please type only in the blue colored cells. In any case of incorrect entry, a yellow warning text appears in the caption.
Correct the error before proceeding.
Captions containing text in green, inform you of how the calculations will evolve based on your selections.
There are three main methods to estimate the wind potential of your area and based on this to accurately estimate the
expected amount of electricity that can be produced by the "Iasos" wind turbine.
| a. | The scientific method, with detailed measurements of the wind potential of the area where the wind turbine is to be
installed. It requires many months of scientific research and is expensive. It is chosen by large companies that intend to
invest a lot of money installing wind turbines on mountain tops. The advantage of this method is that the wind data concerns
the installation point of the wind turbine and not some other point or a wider area.
| b. | The second method, also scientific but with almost zero cost, is the extraction of the results, using the wind data, as
depicted in the "wind rose" of the wind turbine installation area. The results obtained using this method of estimating the
wind potential have only a small deviation from reality and are subject to the same probability of verification as the data of
the previous method. The disadvantage of this method is that the "wind rose" probably concerns an area that is quite far
from the installation point of the wind turbine. For example, it is easy to get the "wind rose" of the nearest airport (which is
usually located in a plain), but the installation site of the wind turbine is not only far from the airport, but on top of a hill.
| c. | The third method is to use a single parameter, that of the "average annual wind speed". It is very easy and free of
cost for everyone to locate the average annual wind speed of their area on meteorological maps. The disadvantage of this
method is that the average annual wind speed of each region does not apply uniformly to each geographical point of the
specific region. There are significant differences from one geographical point to another, in the duration and intensity of the
winds, depending on the morphology of the ground. By moving the installation point of the wind turbine, even a few meters,
you may achieve a significant difference in the wind potential. Farmers, fishermen and generally permanent residents of the
area know best the places where the winds are stronger and more frequent. Consult them.
Choose an installation point, as high as possible and so that there are no obstacles to the flow of wind, from any direction.
After all, without a significant financial burden, you can install the wind turbine 200 or even more meters away from the point
of consumption.
Chapter A. Introduction.
The software offers five scenarios for the use of the wind turbine. If none of these suit you, please contact us so we can
customize the software.
Chapter B. Estimation of wind potential, using the "wind rose".
To extract data from wind rose follow the following instructions. You can also see the relevant video, either on our company
website (https://www.iasos.eu/PRODUCTSE.htm), or on youtube
(https://www.youtube.com/channel/UCTXJKfwRRsyQzdGFtdq0axw).
First, search the Internet or your local weather service for the most recent year's "wind rose." If there is an airport near your
area, you can get the "wind rose" from there. Note that the "wind rose" must cover an entire calendar year (of annual
duration).
The "wind rose" has 18 or 36 rays, which are made up of sectors with different colors. Each color represents a domain of
wind speeds. To which wind speed sector each color corresponds is indicated in the "wind rose" legend. The more radii
and speed sectors the "wind rose" has, the closer to reality the wind potential predictions for your area will be.
The "wind rose" also has some concentric circles. Each circle represents the percentage of the total time during which the
winds of the corresponding intensity were blowing.
The smallest circle corresponds to 0%. Inside the smaller circle or at some other point of the "wind rose", the percentage
of the total time during which apnea prevailed (calm) is indicated.
For the "Iasos" wind turbine, the direction of the wind does not matter. Therefore, the relevant indications of "wind rose"
are not taken into account.
Follow the next procedure to extract the wind data from "wind rose":
Print the "wind rose" as large as possible.
Record the following measurements carefully, on a piece of paper, because when you're done, you'll need to type these
measurements into our company's calculation software. All measurements should be in mm.
Draw the rays of the "wind rose" to facilitate the following measurements.
Then measure the distance from the inner circle (0%), to the outer circle.
Record the measurement. Also record the percentage to which the outer circle corresponds.
Start the measurements from the first wind speed sector, located on the inside, closest to the center of the circles. Usually
this sector is blue. For these measurements it is better to use a caliper. Start the measurements from the north radius.
Measure, as accurately as possible, the length of the specific sector on the corresponding radius.
In other words measure the length of the specific color on the corresponding radius.
Continue the measurements, with the remaining sectors, located on the same radius.
On a scrap paper create a table. Table headings should indicate the wind speed zone. Write the readings from that radius,
on the first line, consecutively, one after the other, so as not to confuse the wind speed sectors.
Then, in the same way, successively measure the length of the wind speed sectors on the next radius. Write the readings
below the previous readings, being especially careful not to mix up the speed sectors. As many as the rays of the
"wind rose", so must be the lines on the rough handwritten table, on which you record your measurements.
Continue the measurements circularly, in all radii, in all wind speed sectors.
After you have completed the measurements of the "wind rose" parameters, you can enter them into our company's software.
1 | Select unit of measure for wind speed, as shown in "wind rose".
2 | Type in the average annual wind speed as shown in the "wind rose".
101 | The software will automatically convert the measurement units to m/s (meters per second).
3 | Type in the duration of apnea (calm), as it is written in the "wind rose".
4 | Carefully measure, as accurately as possible, the distance from the perimeter of the inner circle to the perimeter of the outer
circle (length in mm) and enter the corresponding number. Note that the inner circle represents 0%.
5 | Type the percentage of time that the outer circle represents.
6 | Type the next small table based on the legend of "wind rose". These sectors, of wind speed, are symbolized in the
"wind rose" by different colors.
7 | You can fill in up to seven wind speed sectors.
8 | Type your measurements.
102 | The value of this parameter shows the percentage with which each wind speed sector participates in the total wind potential.
If the sum (total) is 2 units less or more than 100, your measurements are not accurate. We recommend that you do the
measurements again. If the sum (total) is at most 2 units lower or higher than 100, then the software will automatically make
the corrections, reducing the percentage of participation of the highest wind speed sector.
Chapter C. Technical operating parameters of the wind turbine.
Wind potential, produced amounts of electricity.
9 | If you don't have the "wind rose" for your area or for any reason you don't want to deal with the "wind rose", then you can
estimate the technical and economic data, concerning our wind turbine, by typing, in the specific parameter, the average
annual wind speed in your area. In this case, the wind potential will be estimated using the third of the three methods
mentioned above.
In this case, the probability that the annual results of the calculations will not be verified or differ from the actual figures by
even 6%, will be relatively increased.
If at any time and for any reason you want to know the technical operating parameters of our wind turbine, under a specific
wind speed, then use this parameter by typing the specific wind speed.
103 | This parameter displays the average wind speed, per wind speed sector, and is derived from the "wind rose" data you
entered earlier. If you use parameter (9) then this data is neither displayed nor taken into account.
104 | If the measurements you made in "wind rose" are accurate, then the value of this parameter will be equal to the value of
parameter (101). However, if there is a difference between these two parameters, this means that your "wind rose"
measurements were not accurate. This error will result in the underestimation or overestimation of the results.
If you have entered a value in parameter (9), then parameter (104) will display that value, because subsequent calculations
will be based on that value.
105 | The parameter shows the percentage of deviation of the results, due to the erroneous measurements on the "wind rose".
111 | The difference in the value of this parameter with that in parameter (109), is due to the fact that the faster the turbine rotates,
the more its torque decreases.
113 | The value of this parameter is calculated using advanced mathematics and is a function of many other parameters.
115 | The parameter displays the ideal power transmission ratio that maximizes the amount of electricity produced under the
specified conditions.
116 | Any difference in the value of this parameter with the value of parameter (115) means a reduction in the amount of electricity
produced, which reduction can reach up to 4%. This problem is eliminated by using an electronically controlled, automatic
power converter (CVT), with which the wind turbine is equipped, only after ordering.
119 | The turbine shaft delivers the power to the power converter. The power converter, by increasing the rotational speed,
delivers the power to the "power shaft". The generators are connected to this axis.
Therefore the "power shaft" rotates at a speed greater than the turbine shaft, as many times as the power transmission ratio.
121 | The power converter reduces the turbine power as many times as the power transmission ratio determines.
132 | The "cut in" voltage, is a user adjustable charger controller parameter. It is of particular importance for the very low wind
speeds and for this reason the process of the relative regulation must be understood.
When apnea prevails (calm) the turbine does not rotate. When the wind starts to blow, initially at a small speed, the turbine
starts to spin. The lower the wind speed, the slower the turbine rotates. As the wind speed increases, so does the rotation
speed of the turbine and therefore also the rotation speed of the generators. As the speed of rotation of the generators
increases, so does the voltage of the generated electric current. The "charger controller", with which the wind turbine is
equipped, has a "booster" and can therefore take advantage of even the smallest electrical current voltage, in order to
produce the voltage required to charge the batteries. But something such, during the periods when low-speed winds prevail,
is not correct, because ultimately it contributes to the reduction of the total electricity produced and not to its increase.
As the wind speed gradually increases, the rotation speed of the generators increases and the phase voltage of the generated
electric current increases accordingly. If for example you have set the "cut in" voltage to 5 acv, when the voltage reaches this
level, the "charger controller" will increase the voltage to the level required to charge the batteries and start charging the
batteries. This means that the generators will directly consume a part of the turbine's torque, thus slowing down the turbine's
rotation speed. This in turn will lead to the reduction of the rotation speed of the generators, to the reduction of the voltage
and finally to the interruption of the charging of the batteries by the "charger controller".
The turbine will start to increase its rotation speed again and the whole process will repeat itself. The result is that there is a
start - stop of charging, which does not contribute anything positive to the final result.
But if the "cut in" voltage is set for example at 28 acv, when the "charger controller" starts charging the batteries, the
generators will not reduce the torque of the turbine enough to stop it.
Therefore the user determines the value of the "cut in" parameter so that starting from calm, the charging of the batteries
starts at such a level of current voltage, that the turbine will not stop rotating.
133 | "Power factor" is for generators and is necessary to calculate how much of the generators power is converted into useful
electricity.
Chapter D. Technical operating parameters of the wind turbine.
Calculation of consumption and necessary power for the "off grid inverter".
In this chapter, the necessary total consumption and the power that the "off grid inverter" should have are calculated.
The "off grid inverter" is necessary in case you want to store large amounts of electricity in batteries, so that you have
electricity available when there is calm. On the contrary, if you want to sell some or all of the generated electricity to a buyer,
you need an "on grid inverter".
You can at any time modify the values of parameters (10) to (54), so as to adjust your total consumption to the desired level.
54 | If for any reason you cannot or do not want to fill in the detailed data to calculate your annual electricity consumption,
simply enter your approximate average annual electricity consumption in this parameter.
133 | When the batteries are fully charged, the "charger controller" stops drawing electricity from the generators. This happens
very often. Then there is probably electricity available that is not being used. For this reason, there are special electrical
contacts for the electrical connection of the "extra load" in the engine room of the wind turbine. The "extra load" should be
permanently connected to these electrical connections. For example water heating elements, backup electric lighting, etc.
Chapter E. Technical operating parameters of the wind turbine.
Calculation of necessary storage space for the generated electricity (batteries).
You can calculate the necessary battery capacity to store electricity in two ways. By typing, either in parameter (55) the
hours of apnea (calm), for which you want to have stored energy, or in parameter (56) the kwh you want to store.
Chapter F. Economic parameters.
Investment cost.
The "Iasos" wind turbine has no operating and maintenance costs.
Type in parameters (58) to (66) carefully. Use your country's currency in every parameter that involves monetary value.
If you mix up the coins, then the results of the calculations will have no value.
Chapter G. Economic parameters.
Financial details of cooperation with your country's electricity grid.
Please fill in all the parameters of this chapter carefully, otherwise the financial results will have no value.
Chapter H. Financial results.
In each scenario, essentially two parameters are calculated. Total annual benefit and payback period of the investment.
Scenario 1:
171 | Cost of purchasing and installing a wind turbine.
172 | Total cost for connection to the electricity networks.
The investment cost is equal to the sum of parameters (171) and (172).
181 | Annual benefit: Value of annual consumption, plus (+) value of annual sales, minus (-) value of annual purchases.
182 | Payback: Investment cost, dividing (/) with annual benefit.
Scenario 2:
183 | Cost of purchasing and installing a wind turbine.
184 | Total cost for connection to the electricity networks.
The investment cost is equal to the sum of parameters (183) and (184).
190 | Annual benefit: Value of annual consumption, minus (-) value of annual purchases.
191 | Payback: Investment cost, dividing (/) with annual benefit.
Scenario 3:
192 | Cost of purchasing and installing a wind turbine.
193 | Total cost for connection to the electricity networks.
The investment cost is equal to the sum of parameters (192) and (193).
199 | Annual benefit: Value of annual consumption.
200 | Payback: Investment cost, dividing (/) with annual benefit.
Scenario 4:
201 | Cost of purchasing and installing a wind turbine.
202 | Total cost for connection to the electricity networks.
The investment cost is equal to the sum of parameters (201) and (202).
208 | Annual Benefit: Value of annual sales.
209 | Payback: Investment cost, dividing (/) with annual benefit.
Scenario 5:
210 | Cost of purchasing and installing a wind turbine.
211 | Total cost for connection to the electricity networks.
The investment cost is equal to the sum of parameters (210) and (211).
215 | Annual Benefit: Value of annual sales.
216 | Payback: Investment cost, dividing (/) with annual benefit.
For any clarification, contact the email: coyote@iasos.eu